## INDEX
GENERAL MAINTENANCE COMMITTEE (GMC) Data Collection Formats — Master Workbook
Institution: _________________________ GMC Coordinator: _____________ A.Y.: _______ Version: _____
Form No. | Format / Form Title | Purpose / Usage | Frequency
── GOVERNANCE & ADMINISTRATION ──
GMC-00 | Committee Composition & Members Register | Record GMC members, maintenance staff & dept. reps | Annual
GMC-NA | Meeting Notice, Agenda & Dispatch Record | Formal notice and agenda for GMC meetings | Each Meeting
GMC-AT | Attendance & Quorum Register | Confirm attendance and quorum | Each Meeting
GMC-MM | Meeting Minutes & Resolutions | Record decisions, resolutions & directives | Each Meeting
GMC-ATR | Action Taken Report | Track implementation of GMC resolutions | Each Meeting
── POLICY & PLANNING ──
GMC-01 | Maintenance Policy & Standards Document | Document maintenance standards, priorities & procedures | Annual
GMC-02 | Annual Maintenance Plan & Calendar | Plan all preventive and scheduled maintenance for the year | Annual
GMC-03 | GMC Budget & Expenditure Plan | Plan annual maintenance budget — civil, electrical, etc. | Annual
── MAINTENANCE REQUEST & WORK ORDER ──
GMC-04 | Maintenance Request / Complaint Form | Formal maintenance request by department / user | Per Request
GMC-05 | Maintenance Request Register | Consolidated register of all maintenance requests | Continuous
GMC-06 | Work Order Issue Register | Issue and track work orders to maintenance staff / vendors | Per Work Order
GMC-07 | Urgent / Emergency Maintenance Register | Handle emergency repairs requiring immediate action | Per Emergency
GMC-08 | Maintenance Completion & Inspection Register | Verify and close completed maintenance tasks | Per Completion
── CIVIL & STRUCTURAL MAINTENANCE ──
CIV-01 | Building Condition Assessment Register | Annual assessment of all buildings and structures | Annual
CIV-02 | Roof & Waterproofing Maintenance Register | Track roof leaks, waterproofing and terrace repairs | Annual / Per Incident
CIV-03 | Flooring & Tile Repair Register | Track flooring damage and tile replacement | Per Incident / Monthly
CIV-04 | Wall, Plaster & Painting Register | Track plastering, whitewash, painting work | Annual / Per Need
CIV-05 | Door & Window Maintenance Register | Track door/window repairs, replacements & hardware | Per Incident
CIV-06 | Staircase, Ramp & Handrail Register | Inspect and maintain staircases, ramps and handrails | Monthly
CIV-07 | Sanitary & Plumbing Maintenance Register | Track plumbing, drainage and sanitary repairs | Per Incident / Monthly
CIV-08 | Campus Road & Pathway Register | Track road, pathway and kerb maintenance | Annual / Per Need
CIV-09 | Boundary Wall & Fencing Register | Track boundary wall, fencing and gate maintenance | Annual
── ELECTRICAL MAINTENANCE ──
ELE-01 | Electrical System Inspection Register | Periodic inspection of all electrical systems | Monthly / Quarterly
ELE-02 | Lighting Maintenance Register | Track light fixtures, bulb/tube replacements | Monthly
ELE-03 | Power Distribution & Switchgear Register | Track panel boards, MCBs, distribution boxes | Quarterly
ELE-04 | DG Set Maintenance & Fuel Log | Track diesel generator maintenance and fuel consumption | Daily / Monthly
ELE-05 | UPS & Battery Maintenance Register | Track UPS systems, batteries and inverters | Monthly
ELE-06 | Electrical Fault & Breakdown Register | Log electrical faults, tripping and outage incidents | Per Fault
ELE-07 | Earthing & Lightning Protection Register | Annual testing of earthing systems and lightning arrestors | Annual
── PLUMBING & WATER SUPPLY ──
PLB-01 | Water Supply & Overhead Tank Register | Track water supply, OHT levels and daily consumption | Daily / Monthly
PLB-02 | Pump Maintenance Register | Track motor pumps, submersibles and borewell maintenance | Monthly
PLB-03 | Pipeline & Valve Maintenance Register | Track pipeline leaks, valve replacements | Per Incident
PLB-04 | Sump / Underground Tank Cleaning Register | Schedule and track sump and UGT cleaning | Quarterly
── HVAC & MECHANICAL ──
HVC-01 | Air Conditioning System Register | Register all AC units on campus | Annual
HVC-02 | AC Maintenance & Service Log | Track AC servicing, gas refilling, filter cleaning | Monthly
HVC-03 | Fans, Exhaust & Ventilation Register | Track ceiling fans, exhaust fans and ventilation systems | Monthly
HVC-04 | Lift / Elevator Maintenance Register | Track lift maintenance, safety inspections and AMC | Monthly
── FIRE SAFETY & SECURITY SYSTEMS ──
FSS-01 | Fire Extinguisher Register | Inventory, inspection and refilling of fire extinguishers | Monthly
FSS-02 | Fire Alarm & Detection System Register | Track fire alarm panels, detectors and call points | Monthly
FSS-03 | Fire Hydrant & Sprinkler Register | Track hydrants, sprinkler systems and water mains | Quarterly
FSS-04 | CCTV & Security System Register | Track CCTV cameras, DVRs and access control systems | Monthly
FSS-05 | Fire Safety Mock Drill Register | Document fire drills, evacuation and response times | Bi-annual
── HORTICULTURE & CAMPUS GROUNDS ──
HRT-01 | Campus Tree & Greenery Register | Inventory of trees, plants and landscaping features | Annual
HRT-02 | Garden & Lawn Maintenance Register | Track mowing, trimming, watering and fertilisation | Weekly / Monthly
HRT-03 | Tree Pruning & Removal Register | Track tree pruning, risk assessment and removal | As required
── VEHICLES & EQUIPMENT (NON-TRANSPORT) ──
VEH-01 | Campus Service Vehicle Register | Register service/maintenance vehicles and equipment | Annual
VEH-02 | Maintenance Equipment Register | Register tools, machinery and maintenance equipment | Annual
── CONTRACTORS & VENDORS ──
CNT-01 | Maintenance Contractor / Vendor Register | Register approved contractors for maintenance work | Annual
CNT-02 | AMC (Annual Maintenance Contract) Register | Track all AMC agreements and renewal dates | Annual
── BUDGET & FINANCE ──
FIN-01 | Maintenance Work Cost Register | Track cost of each maintenance job | Per Job
FIN-02 | Monthly Maintenance Expenditure Register | Monthly summary of all maintenance expenditure | Monthly
FIN-03 | Capital Repair & Replacement Register | Track major capital repairs and replacements | Per Project
── SAFETY & COMPLIANCE ──
SFY-01 | Workplace Safety Inspection Register | Monthly safety inspection of all work areas | Monthly
SFY-02 | Accident / Near-Miss Register | Log maintenance-related accidents and near-misses | Per Incident
SFY-03 | Statutory Compliance Register | Track statutory inspections — lifts, pressure vessels etc. | As per statute
── MONITORING & REPORTING ──
GMC-30 | GMC KPI Dashboard | Track all maintenance KPIs — response, cost, quality | Monthly / Quarterly
GMC-31 | GMC Annual Report Compilation Form | Year-end report for management, NAAC, Finance | Annual
• GMC = General Maintenance Committee — responsible for all civil, electrical, plumbing, HVAC, fire, grounds & equipment maintenance.
• Priority levels: P1 (Emergency — 4 hrs), P2 (Urgent — 24 hrs), P3 (Routine — 7 days), P4 (Planned — next schedule).
• Preventive maintenance is mandatory — reactive-only maintenance leads to higher costs and failures.
• Fire extinguishers must be inspected monthly and refilled annually or after use — statutory requirement.
• Lifts/elevators: Annual inspection by government-approved inspector is legally mandatory. No AMC = no operation.
• Earthing resistance test must be done annually — values must be ≤ 1 ohm for equipment, ≤ 5 ohm for buildings.
• DG Set: Weekly test run (15 min minimum) mandatory; fuel level checked daily; AMC must be current.
• GMC data feeds into: NAAC AQAR Criterion IV (Infrastructure), NIRF, NBA, statutory compliance records.
• All maintenance work above ₹10,000 requires three quotations and PSC / Finance Committee approval.
• Annual building condition assessment feeds the capital expenditure planning cycle for the next 3–5 years.

## GMC-00 Composition
GMC-00: GENERAL MAINTENANCE COMMITTEE — COMPOSITION REGISTER
Institution: _________________________ A.Y.: _______ Constituted on: _______ Order No.: _______
Sl. | Name | Designation | Role in GMC | Domain | Email / Phone | Term | Signature
1 |  | Principal / Director | Chairperson | GMC Leadership & Approval
2 |  | Estate Officer / Administrative Officer | GMC Coordinator | Overall Maintenance Coordination
3 |  | Civil Engineer / Structural Engineer | Civil Engineer | Civil & Structural Maintenance
4 |  | Electrical Engineer / Maintenance In-charge | Electrical Engineer | Electrical Systems & Safety
5 |  | Mechanical Engineer / HVAC Specialist | Mechanical Engineer | HVAC, Pumps & Mechanical Systems
6 |  | Plumbing Supervisor / Water Works | Plumbing Supervisor | Plumbing & Water Supply
7 |  | Fire Safety Officer / Security Head | Fire Safety Officer | Fire Safety & Security Systems
8 |  | Horticulturist / Ground Keeper | Horticulture In-charge | Grounds, Gardens & Landscaping
9 |  | IT In-charge / Network Engineer | IT Infrastructure Rep | Server Rooms & IT Infrastructure
10 |  | Senior Faculty (Elected) | Faculty Rep – 1 | User Department Representative
11 |  | Senior Faculty (Elected) | Faculty Rep – 2 | User Department Representative
12 |  | Finance Officer | Finance Officer (Ex-off.) | Budget & Payment Approval
13 |  | Purchase & Stores Coordinator | PSC Rep (Ex-off.) | Materials & Contracts
14 |  | IQAC In-charge | IQAC Coordinator (Ex-off.) | Quality & NAAC Compliance
GMC meets monthly. Estate Officer is the operational head of day-to-day maintenance. All engineers are responsible for their domain's preventive maintenance schedule. Emergency calls go directly to the Estate Officer 24×7.

## GMC-NA Notice & Agenda
GENERAL MAINTENANCE COMMITTEE: MEETING NOTICE & AGENDA
Meeting No.:
Academic Year:
Date:
Time:
Venue:
Mode:
Notice by:
Notice Date:
AGENDA ITEMS
Item No. | Agenda Item | Lead | Duration (Min)
1 | Confirmation of minutes of previous GMC meeting
2 | Action Taken Report on previous GMC resolutions
3 | Maintenance requests — pending and newly received
4 | Emergency repairs — status and costs
5 | Civil maintenance — building inspections, repairs
6 | Electrical maintenance — faults, inspections, replacements
7 | Plumbing & water supply — status and issues
8 | HVAC & AC — servicing status and complaints
9 | DG Set — fuel log, maintenance and efficiency
10 | Fire safety — extinguisher inspection, drill status
11 | CCTV & security system — status and issues
12 | Campus grounds & horticulture — maintenance status
13 | Lift / elevator — statutory inspection status
14 | AMC renewals — upcoming expiry and renewal
15 | Contractor / vendor performance — review
16 | Statutory compliance — pending inspections
17 | Budget review — expenditure vs. allocation
18 | Capital repairs — planning for next quarter
19 | NAAC infrastructure data — compilation status
20 | Any Other Matter with Permission of Chairperson (AOMPC)
DISPATCH RECORD
Sl. | Member Name & Role | Mode | Date & Acknowledgement

## GMC-AT Attendance
GMC: ATTENDANCE & QUORUM REGISTER
Meeting No.: _______ Date: _______ Total Strength: _______ Quorum Required (50%): _______
Sl. | Name | Role | Mode (Physical/VC) | Present (P/A) | Proxy (Y/N) | Proxy Holder | Signature
1 |  |  | Physical |  | N
2 |  |  | Physical |  | N
3 |  |  | Physical |  | N
4 |  |  | Physical |  | N
5 |  |  | Physical |  | N
6 |  |  | Physical |  | N
7 |  |  | Physical |  | N
8 |  |  | Physical |  | N
9 |  |  | Physical |  | N
10 |  |  | Physical |  | N
11 |  |  | Physical |  | N
12 |  |  | Physical |  | N
13 |  |  | Physical |  | N
14 |  |  | Physical |  | N
15 |  |  | Physical |  | N
16 |  |  | Physical |  | N
QUORUM VERIFICATION
Total GMC Members
Present (Physical)
Present (VC)
Total Effective
Quorum Required (50%)
Quorum Achieved?

## GMC-MM Minutes
GMC: MEETING MINUTES & RESOLUTIONS
Meeting No.: _______ Date: _______ Venue: _______ Chairperson: ___________________
DISCUSSION & RESOLUTIONS
Resolution No. | Discussion & Resolution | Responsible | Voting | Target Date | Status
GMC/RES/001 |  |  |  |  | Pending
GMC/RES/002 |  |  |  |  | Pending
GMC/RES/003 |  |  |  |  | Pending
GMC/RES/004 |  |  |  |  | Pending
GMC/RES/005 |  |  |  |  | Pending
GMC/RES/006 |  |  |  |  | Pending
GMC/RES/007 |  |  |  |  | Pending
GMC/RES/008 |  |  |  |  | Pending
GMC/RES/009 |  |  |  |  | Pending
GMC/RES/010 |  |  |  |  | Pending
GMC/RES/011 |  |  |  |  | Pending
GMC/RES/012 |  |  |  |  | Pending
GMC/RES/013 |  |  |  |  | Pending
GMC/RES/014 |  |  |  |  | Pending
Next Meeting: _______ Chairperson: ___________________ GMC Coordinator: ___________________

## GMC-ATR Action Report
GMC: ACTION TAKEN REPORT (ATR)
Current Meeting No.: _______ Date: _______ Previous Meeting Ref.: _______
Resolution No. | Resolution / Decision | Action Required | Responsible | Target Date | Completion Date | Status
GMC/RES/001 | [5 empty] | In Progress
GMC/RES/002 | [5 empty] | In Progress
GMC/RES/003 | [5 empty] | In Progress
GMC/RES/004 | [5 empty] | In Progress
GMC/RES/005 | [5 empty] | In Progress
GMC/RES/006 | [5 empty] | In Progress
GMC/RES/007 | [5 empty] | In Progress
GMC/RES/008 | [5 empty] | In Progress
GMC/RES/009 | [5 empty] | In Progress
GMC/RES/010 | [5 empty] | In Progress
GMC/RES/011 | [5 empty] | In Progress
GMC/RES/012 | [5 empty] | In Progress
GMC/RES/013 | [5 empty] | In Progress
GMC/RES/014 | [5 empty] | In Progress
ATR SUMMARY
Total Resolutions Under Review
Implemented
In Progress
Pending
Deferred
Implementation Rate (%)

## GMC-05 Request Register
GMC-05: MAINTENANCE REQUEST REGISTER
A.Y.: _______ GMC Coordinator: ___________________ Priority: P1=4hrs ¦ P2=24hrs ¦ P3=7days ¦ P4=Planned
Request Ref. | Location / Building | Nature of Complaint | Category | Date & Time Logged | Priority (P1–P4) | Assigned To | Target Completion | Actual Completion | Status
MR/2024/0001 |  |  | Civil — Structural |  | P1 — Emergency (4 hrs) |  |  |  | Open
MR/2024/0002 |  |  | Civil — Flooring |  | P2 — Urgent (24 hrs) |  |  |  | Assigned
MR/2024/0003 |  |  | Civil — Painting |  | P3 — Routine (7 days) |  |  |  | In Progress
MR/2024/0004 |  |  | Civil — Doors/Windows |  | P4 — Planned (Next Schedule) |  |  |  | On Hold — Material Pending
MR/2024/0005 |  |  | Electrical — Lighting |  | P1 — Emergency (4 hrs) |  |  |  | Completed
MR/2024/0006 |  |  | Electrical — Power |  | P2 — Urgent (24 hrs) |  |  |  | Cancelled
MR/2024/0007 |  |  | Electrical — AC/Fans |  | P3 — Routine (7 days) |  |  |  | Open
MR/2024/0008 |  |  | Plumbing — Water Supply |  | P4 — Planned (Next Schedule) |  |  |  | Assigned
MR/2024/0009 |  |  | Plumbing — Drainage |  | P1 — Emergency (4 hrs) |  |  |  | In Progress
MR/2024/0010 |  |  | Plumbing — Sanitary |  | P2 — Urgent (24 hrs) |  |  |  | On Hold — Material Pending
MR/2024/0011 |  |  | HVAC — AC Service |  | P3 — Routine (7 days) |  |  |  | Completed
MR/2024/0012 |  |  | DG Set |  | P4 — Planned (Next Schedule) |  |  |  | Cancelled
MR/2024/0013 |  |  | Fire Safety |  | P1 — Emergency (4 hrs) |  |  |  | Open
MR/2024/0014 |  |  | CCTV / Security |  | P2 — Urgent (24 hrs) |  |  |  | Assigned
MR/2024/0015 |  |  | Lift / Elevator |  | P3 — Routine (7 days) |  |  |  | In Progress
MR/2024/0016 |  |  | Horticulture |  | P4 — Planned (Next Schedule) |  |  |  | On Hold — Material Pending
MR/2025/0017 |  |  | Furniture |  | P1 — Emergency (4 hrs) |  |  |  | Completed
MR/2025/0018 |  |  | IT Infrastructure |  | P2 — Urgent (24 hrs) |  |  |  | Cancelled
MR/2025/0019 |  |  | Miscellaneous |  | P3 — Routine (7 days) |  |  |  | Open
MR/2025/0020 |  |  | Civil — Structural |  | P4 — Planned (Next Schedule) |  |  |  | Assigned
MR/2025/0021 |  |  | Civil — Flooring |  | P1 — Emergency (4 hrs) |  |  |  | In Progress
MR/2025/0022 |  |  | Civil — Painting |  | P2 — Urgent (24 hrs) |  |  |  | On Hold — Material Pending
MR/2025/0023 |  |  | Civil — Doors/Windows |  | P3 — Routine (7 days) |  |  |  | Completed
MR/2025/0024 |  |  | Electrical — Lighting |  | P4 — Planned (Next Schedule) |  |  |  | Cancelled
MR/2025/0025 |  |  | Electrical — Power |  | P1 — Emergency (4 hrs) |  |  |  | Open
MR/2025/0026 |  |  | Electrical — AC/Fans |  | P2 — Urgent (24 hrs) |  |  |  | Assigned
MR/2025/0027 |  |  | Plumbing — Water Supply |  | P3 — Routine (7 days) |  |  |  | In Progress
MR/2025/0028 |  |  | Plumbing — Drainage |  | P4 — Planned (Next Schedule) |  |  |  | On Hold — Material Pending
MR/2025/0029 |  |  | Plumbing — Sanitary |  | P1 — Emergency (4 hrs) |  |  |  | Completed
MR/2025/0030 |  |  | HVAC — AC Service |  | P2 — Urgent (24 hrs) |  |  |  | Cancelled
MR/2025/0031 |  |  | DG Set |  | P3 — Routine (7 days) |  |  |  | Open
MR/2025/0032 |  |  | Fire Safety |  | P4 — Planned (Next Schedule) |  |  |  | Assigned
REQUEST STATISTICS
Total Requests Logged
P1 Emergency Requests
P2 Urgent Requests
Completed
Pending / Open
Completion Rate (%)

## CIV-01 Building Assessment
CIV-01: ANNUAL BUILDING CONDITION ASSESSMENT REGISTER
A.Y.: _______ Civil Engineer: ___________________ Assessment Date: _______
Building / Block | Structure / Area | Year Built | Structural (/5) | Roof / Waterproof (/5) | Flooring (/5) | Doors & Windows (/5) | Overall Score (/5) | Priority Action
Academic Block A | Classrooms, Corridors
Academic Block B | Classrooms, Labs
Laboratory Block | Physics, Chemistry, Electronics Labs
Workshop / Fabrication | Mechanical Workshop
Administrative Block | Offices, Principal Block
Library Building | Reading Room, Stacks
Auditorium / Seminar Hall | Main Hall, Stage, Backstage
Canteen Building | Kitchen, Dining Area
Boys Hostel Block A | Rooms, Common Areas
Boys Hostel Block B | Rooms, Bathrooms
Girls Hostel Block A | Rooms, Common Areas
Girls Hostel Block B | Rooms, Bathrooms
Sports Complex | Indoor Courts, Change Rooms
Security / Guard Room | Gate Posts
Generator / Pump Room | DG Room, Water Works
Boundary Wall & Gates | Perimeter
ASSESSMENT SUMMARY
Total Buildings Assessed
Excellent Condition (≥4.5)
Good (3.5–4.4)
Needs Attention (< 3.5)
Campus Average Score (/5)
Priority Repairs Identified

## ELE-01 Electrical Inspection
ELE-01: ELECTRICAL SYSTEM PERIODIC INSPECTION REGISTER
Monthly inspection of distribution panels and MCBs. Quarterly inspection of main switchgear. Annual IR test, earth resistance test, and insulation resistance test. Hire licensed electrician for testing.
Inspection Ref. | Area / System | Inspection Type | Date | Inspector | Phase Voltage OK | MCB / Fuse OK | Earthing OK | Action Required
EI/001 | Main LT Panel — Block A | Monthly Distribution Check |  |  | OK | OK | OK | NIL
EI/002 | Main LT Panel — Block B | Quarterly Switchgear Check |  |  | OK | OK | OK | NIL
EI/003 | Sub-panel — Lab Block | Annual IR Test |  |  | OK | OK | OK | NIL
EI/004 | Sub-panel — Admin Block | Annual Earth Resistance Test |  |  | OK | OK | OK | NIL
EI/005 | Sub-panel — Library | Thermographic Scan |  |  | OK | OK | OK | NIL
EI/006 | Sub-panel — Hostels | Load Assessment |  |  | OK | OK | OK | NIL
EI/007 | DG Output Panel | Monthly Distribution Check |  |  | OK | OK | OK | NIL
EI/008 | External Lighting Circuit | Quarterly Switchgear Check |  |  | OK | OK | OK | NIL
EI/009 | UPS & Battery Room | Annual IR Test |  |  | OK | OK | OK | NIL
EI/010 | Server Room Electrical | Annual Earth Resistance Test |  |  | OK | OK | OK | NIL
EI/011 | Lift Machine Room | Thermographic Scan |  |  | OK | OK | OK | NIL
EI/012 | Pump House Electrical | Load Assessment |  |  | OK | OK | OK | NIL
EI/013 | Workshop Electrical | Monthly Distribution Check |  |  | OK | OK | OK | NIL
EI/014 | Auditorium Power | Quarterly Switchgear Check |  |  | OK | OK | OK | NIL
EI/015 | Solar PV Inverter Room | Annual IR Test |  |  | OK | OK | OK | NIL
EI/016 | Main LT Panel — Block A | Annual Earth Resistance Test |  |  | OK | OK | OK | NIL
EI/017 | Main LT Panel — Block B | Thermographic Scan |  |  | OK | OK | OK | NIL
EI/018 | Sub-panel — Lab Block | Load Assessment |  |  | OK | OK | OK | NIL
EI/019 | Sub-panel — Admin Block | Monthly Distribution Check |  |  | OK | OK | OK | NIL
EI/020 | Sub-panel — Library | Quarterly Switchgear Check |  |  | OK | OK | OK | NIL
ELECTRICAL INSPECTION SUMMARY
Total Inspections Done
Monthly Checks Completed
Annual Tests Completed
Items with Action Required
Earthing Issues Found
Last Full Campus IR Test Date

## ELE-04 DG Set & Fuel Log
ELE-04: DG SET MAINTENANCE & FUEL CONSUMPTION LOG
DG Set: Weekly test run (15 min, no load) mandatory. Check oil level, coolant, battery before every run. Fuel consumption norm: ~0.28 L/kWh for diesel DG. Lube oil: change every 250 running hours.
Date | DG Ref. / kVA | Run Type | Start Time | Stop Time | Run Hours | Fuel Opening (L) | Fuel Added (L) | Fuel Closed (L) | Units Generated (kWh) | Remarks
Weekly Test Run
Power Failure Backup
Scheduled Load Test
Emergency Run
Maintenance Run
Weekly Test Run
Power Failure Backup
Scheduled Load Test
Emergency Run
Maintenance Run
Weekly Test Run
Power Failure Backup
Scheduled Load Test
Emergency Run
Maintenance Run
Weekly Test Run
Power Failure Backup
Scheduled Load Test
Emergency Run
Maintenance Run
Weekly Test Run
Power Failure Backup
Scheduled Load Test
Emergency Run
Maintenance Run
Weekly Test Run
DG SET MONTHLY SUMMARY
Total Run Events
Total Run Hours
Total Fuel Consumed (L)
Total Units Generated (kWh)
Fuel Efficiency (L/kWh)
Emergency Runs

## PLB-01 Water Supply Register
PLB-01: WATER SUPPLY & OVERHEAD TANK DAILY REGISTER
Check OHT (Overhead Tank) level twice daily — morning and evening. Pump running hours to be logged. Water consumption norm: ≥135 L/person/day (campus), ≥150 L/person/day (hostel students).
Date | Municipal Supply (hrs) | Borewell Pump (hrs) | OHT Level Morning (%) | OHT Level Evening (%) | Est. Water Consumed (kL) | Chlorine Dosed | Water Complaints | Pump Fault | Action Taken | Remarks
[6 empty] | Y | NIL | None | NIL
[6 empty] | Y | NIL | None | NIL
[6 empty] | Y | NIL | None | NIL
[6 empty] | Y | NIL | None | NIL
[6 empty] | Y | NIL | None | NIL
[6 empty] | Y | NIL | None | NIL
[6 empty] | Y | NIL | None | NIL
[6 empty] | Y | NIL | None | NIL
[6 empty] | Y | NIL | None | NIL
[6 empty] | Y | NIL | None | NIL
[6 empty] | Y | NIL | None | NIL
[6 empty] | Y | NIL | None | NIL
[6 empty] | Y | NIL | None | NIL
[6 empty] | Y | NIL | None | NIL
[6 empty] | Y | NIL | None | NIL
[6 empty] | Y | NIL | None | NIL
[6 empty] | Y | NIL | None | NIL
[6 empty] | Y | NIL | None | NIL
[6 empty] | Y | NIL | None | NIL
[6 empty] | Y | NIL | None | NIL
[6 empty] | Y | NIL | None | NIL
[6 empty] | Y | NIL | None | NIL
[6 empty] | Y | NIL | None | NIL
[6 empty] | Y | NIL | None | NIL
[6 empty] | Y | NIL | None | NIL
[6 empty] | Y | NIL | None | NIL
MONTHLY WATER SUMMARY
Total Municipal Supply (hours)
Total Borewell Pump Hours
Estimated Total Consumption (kL)
Days with Water Complaints
Pump Fault Days
Average Daily Consumption (kL)

## HVC-02 AC Maintenance Log
HVC-02: AIR CONDITIONING MAINTENANCE & SERVICE LOG
AC filter cleaning: Monthly. Full service (coil cleaning, gas check): Quarterly. Gas top-up and compressor check: As needed. All AC units must be on AMC with certified service agency.
Service Ref. | Location / Unit ID | AC Type | Service Type | Date | AMC / In-house | Filter Cleaned | Gas Checked | Fault Found | Status
ACS/001 |  | Split AC — 1.5 TR | Monthly Filter Clean |  | AMC | Y | Y | None | Completed
ACS/002 |  | Split AC — 2.0 TR | Quarterly Full Service |  | AMC | Y | Y | None | Completed
ACS/003 |  | Cassette AC | Gas Top-up |  | AMC | Y | Y | None | Completed
ACS/004 |  | Central AC / AHU | Compressor Repair |  | AMC | Y | Y | None | Completed
ACS/005 |  | Window AC | AMC Annual Service |  | AMC | Y | Y | None | Completed
ACS/006 |  | VRF System | Thermostat Replacement |  | AMC | Y | Y | None | Completed
ACS/007 |  | Precision AC (Server Room) | Monthly Filter Clean |  | AMC | Y | Y | None | Completed
ACS/008 |  | Split AC — 1.5 TR | Quarterly Full Service |  | AMC | Y | Y | None | Completed
ACS/009 |  | Split AC — 2.0 TR | Gas Top-up |  | AMC | Y | Y | None | Completed
ACS/010 |  | Cassette AC | Compressor Repair |  | AMC | Y | Y | None | Completed
ACS/011 |  | Central AC / AHU | AMC Annual Service |  | AMC | Y | Y | None | Completed
ACS/012 |  | Window AC | Thermostat Replacement |  | AMC | Y | Y | None | Completed
ACS/013 |  | VRF System | Monthly Filter Clean |  | AMC | Y | Y | None | Completed
ACS/014 |  | Precision AC (Server Room) | Quarterly Full Service |  | AMC | Y | Y | None | Completed
ACS/015 |  | Split AC — 1.5 TR | Gas Top-up |  | AMC | Y | Y | None | Completed
ACS/016 |  | Split AC — 2.0 TR | Compressor Repair |  | AMC | Y | Y | None | Completed
ACS/017 |  | Cassette AC | AMC Annual Service |  | AMC | Y | Y | None | Completed
ACS/018 |  | Central AC / AHU | Thermostat Replacement |  | AMC | Y | Y | None | Completed
ACS/019 |  | Window AC | Monthly Filter Clean |  | AMC | Y | Y | None | Completed
ACS/020 |  | VRF System | Quarterly Full Service |  | AMC | Y | Y | None | Completed
ACS/021 |  | Precision AC (Server Room) | Gas Top-up |  | AMC | Y | Y | None | Completed
ACS/022 |  | Split AC — 1.5 TR | Compressor Repair |  | AMC | Y | Y | None | Completed
AC MAINTENANCE SUMMARY
Total AC Service Events
Monthly Filter Cleans
Quarterly Full Services
Faults Found
AMC-Covered Services
Units on AMC

## FSS-01 Fire Extinguisher Reg
FSS-01: FIRE EXTINGUISHER INVENTORY & INSPECTION REGISTER
Monthly visual inspection mandatory — check pressure gauge, safety pin, nozzle, hose and mounting. Annual refilling/servicing mandatory by certified agency. Expired extinguishers must be removed immediately. IS 2190:2010.
Extinguisher Ref. | Location | Type | Capacity (kg/L) | Last Filled | Refill Due | Monthly Inspection | Pressure Gauge OK | Pin / Seal OK | Status
FEX-001 | Principal Office Corridor | CO2 (4.5 kg) |  |  |  | Y | OK | OK | Valid
FEX-002 | Admin Block — Each Floor | CO2 (6.8 kg) |  |  |  | Y | OK | OK | Valid
FEX-003 | Library — Main Hall | DCP — ABC Powder (5 kg) |  |  |  | Y | OK | OK | Valid
FEX-004 | Lab Block — Each Floor | DCP — ABC Powder (9 kg) |  |  |  | Y | OK | OK | Valid
FEX-005 | Mechanical Workshop | Foam (9 L) |  |  |  | Y | OK | OK | Valid
FEX-006 | Chemistry Lab | Water CO2 (9 L) |  |  |  | Y | OK | OK | Valid
FEX-007 | Computer Labs | Clean Agent — HFC (2 kg) |  |  |  | Y | OK | OK | Valid
FEX-008 | Hostel — Each Floor | K-Type (Kitchen) |  |  |  | Y | OK | OK | Valid
FEX-009 | Canteen Kitchen | CO2 (4.5 kg) |  |  |  | Y | OK | OK | Valid
FEX-010 | Server Room | CO2 (6.8 kg) |  |  |  | Y | OK | OK | Valid
FEX-011 | DG Room | DCP — ABC Powder (5 kg) |  |  |  | Y | OK | OK | Valid
FEX-012 | Auditorium Stage | DCP — ABC Powder (9 kg) |  |  |  | Y | OK | OK | Valid
FEX-013 | Sports Complex | Foam (9 L) |  |  |  | Y | OK | OK | Valid
FEX-014 | Security Room | Water CO2 (9 L) |  |  |  | Y | OK | OK | Valid
FEX-015 | Principal Office Corridor | Clean Agent — HFC (2 kg) |  |  |  | Y | OK | OK | Valid
FEX-016 | Admin Block — Each Floor | K-Type (Kitchen) |  |  |  | Y | OK | OK | Valid
FEX-017 | Library — Main Hall | CO2 (4.5 kg) |  |  |  | Y | OK | OK | Valid
FEX-018 | Lab Block — Each Floor | CO2 (6.8 kg) |  |  |  | Y | OK | OK | Valid
FEX-019 | Mechanical Workshop | DCP — ABC Powder (5 kg) |  |  |  | Y | OK | OK | Valid
FEX-020 | Chemistry Lab | DCP — ABC Powder (9 kg) |  |  |  | Y | OK | OK | Valid
FEX-021 | Computer Labs | Foam (9 L) |  |  |  | Y | OK | OK | Valid
FEX-022 | Hostel — Each Floor | Water CO2 (9 L) |  |  |  | Y | OK | OK | Valid
FEX-023 | Canteen Kitchen | Clean Agent — HFC (2 kg) |  |  |  | Y | OK | OK | Valid
FEX-024 | Server Room | K-Type (Kitchen) |  |  |  | Y | OK | OK | Valid
EXTINGUISHER COMPLIANCE SUMMARY
Total Extinguishers
Valid / Current
Expired — Immediate Action
Refill Due in 30 Days
CO2 Extinguishers
Last Full Campus Inspection Date

## FSS-05 Fire Drill Register
FSS-05: FIRE SAFETY MOCK DRILL REGISTER
Fire drills must be conducted at least twice a year. Notify local fire station. Record evacuation time, warden performance, equipment check. Target: complete evacuation in < 3 minutes. Review and improve each drill.
Drill Ref.: FSS/DRILL/______/______ Date: _______ Time: _______ Duration: _______
DRILL PLANNING
Drill Type: | [ ] Announced [ ] Unannounced [ ] Partial [ ] Full Campus
Area Covered: | [ ] All Blocks [ ] Academic Block [ ] Hostels [ ] Specific Area: _______
Fire Warden(s) In-charge:
Fire Station Informed? | [ ] Yes — Fire Station: _______ [ ] No
Assembly Point Designated:
Drill Coordinator:
DRILL OUTCOME
Alarm Activated at:
Last Person at Assembly Point:
Total Evacuation Time (min:sec):
Target Met (< 3 minutes)? | [ ] Yes [ ] No — Analysis below
Total Persons Evacuated:
Any Person Not Evacuated / Missing? | [ ] Yes — Name(s): _______ [ ] All Clear
Equipment Used (extinguishers / hose)? | [ ] Yes — Equipment: _______ [ ] Simulated Only
Visitors / External Persons during drill? | [ ] Yes — Count: _______ [ ] No
Fire Warden Performance Rating (1–5):
Overall Drill Rating (1–5):
BLOCK-WISE EVACUATION LOG
Block / Area | Fire Warden | Persons Evacuated | Time to Clear (min)
Academic Block A
Academic Block B
Lab Block
Admin Block
Library
Canteen
Hostel — Boys
Hostel — Girls
IMPROVEMENTS & LEARNINGS
Areas of Concern / Gaps Observed:
Actions to Improve Next Drill:
Coordinator: ___________________ Principal: ___________________ Fire Station Rep: ___________________ Date: ___________________

## CNT-02 AMC Register
CNT-02: ANNUAL MAINTENANCE CONTRACT (AMC) REGISTER
All critical systems must be on AMC with certified service agencies. AMC lapse = warranty void + legal liability. Renew AMC minimum 30 days before expiry. Track days-to-expiry with auto formula.
AMC Ref. | System / Equipment | Vendor / Agency | AMC Start Date | AMC Expiry Date | AMC Value (₹) | Days to Expiry | Coverage | Renewal Initiated | Status
AMC-001 | DG Set (500 kVA) | Authorised DG Service |  |  |  |  | Comprehensive | N
AMC-002 | Lifts / Elevators (2 units) | Licensed Lift AMC Agency |  |  |  |  | Comprehensive | N
AMC-003 | Solar PV System (200 kWp) | EPC / Solar AMC Vendor |  |  |  |  | Comprehensive | N
AMC-004 | CCTV System (150 cameras) | Security System Vendor |  |  |  |  | Comprehensive | N
AMC-005 | Fire Alarm System | Fire Safety Certified Agency |  |  |  |  | Comprehensive | N
AMC-006 | Split ACs — All Campus (50 units) | AC Service Agency |  |  |  |  | Comprehensive | N
AMC-007 | Central AC / VRF System | OEM-Authorised Service |  |  |  |  | Comprehensive | N
AMC-008 | UPS Systems (10 kVA – 40 kVA) | UPS Authorised Service |  |  |  |  | Comprehensive | N
AMC-009 | Water Treatment Plant | WTP Service Agency |  |  |  |  | Comprehensive | N
AMC-010 | Biogas Plant (if any) | Biogas Service Agency |  |  |  |  | Comprehensive | N
AMC-011 | Passenger Lift — Library | Lift AMC Agency |  |  |  |  | Comprehensive | N
AMC-012 | Server Room Precision AC | Precision AC Service |  |  |  |  | Comprehensive | N
AMC-013 | Borewell / Submersible Pumps | Pump Service Agency |  |  |  |  | Comprehensive | N
AMC-014 | Electrical LT Panel Maintenance | Licensed Electrician Agency |  |  |  |  | Comprehensive | N
AMC-015 | Building Structural Audit | Structural Consulting Firm |  |  |  |  | Comprehensive | N
AMC-016 | Fire Hydrant System | Fire Safety Agency |  |  |  |  | Comprehensive | N
AMC COMPLIANCE SUMMARY
Total AMCs Registered
Active AMCs
Expiring in 30 Days
EXPIRED AMCs — Immediate Action
Total AMC Value (₹)
AMCs with Renewal Initiated
Formulas:
Days to Expiry = IFERROR([AMC Expiry Date]-TODAY(),"")
Status = IFERROR(IF([AMC Expiry Date]<TODAY(),"EXPIRED",IF([AMC Expiry Date]-TODAY()<=30,"Renew Now","Active")),"")

## FIN-01 Work Cost Register
FIN-01: MAINTENANCE WORK COST REGISTER
Month: _______ A.Y.: _______ GMC Coordinator: ___________________ Finance Officer: ___________________
WO Ref. | Work Description | Category | Location | Contractor / Staff | Material Cost (₹) | Labour Cost (₹) | Total Cost (₹) | PO / WO Ref. | Status
WO/0001 |  | Civil — Structural | [6 empty] | Completed
WO/0002 |  | Civil — Flooring | [6 empty] | Completed
WO/0003 |  | Civil — Painting | [6 empty] | Completed
WO/0004 |  | Civil — Doors/Windows | [6 empty] | Completed
WO/0005 |  | Electrical — Lighting | [6 empty] | Completed
WO/0006 |  | Electrical — Power | [6 empty] | Completed
WO/0007 |  | Electrical — AC/Fans | [6 empty] | Completed
WO/0008 |  | Plumbing — Water Supply | [6 empty] | Completed
WO/0009 |  | Plumbing — Drainage | [6 empty] | Completed
WO/0010 |  | Plumbing — Sanitary | [6 empty] | Completed
WO/0011 |  | HVAC — AC Service | [6 empty] | Completed
WO/0012 |  | DG Set | [6 empty] | Completed
WO/0013 |  | Fire Safety | [6 empty] | Completed
WO/0014 |  | CCTV / Security | [6 empty] | Completed
WO/0015 |  | Lift / Elevator | [6 empty] | Completed
WO/0016 |  | Horticulture | [6 empty] | Completed
WO/0017 |  | Furniture | [6 empty] | Completed
WO/0018 |  | IT Infrastructure | [6 empty] | Completed
WO/0019 |  | Miscellaneous | [6 empty] | Completed
WO/0020 |  | Civil — Structural | [6 empty] | Completed
WO/0021 |  | Civil — Flooring | [6 empty] | Completed
WO/0022 |  | Civil — Painting | [6 empty] | Completed
WO/0023 |  | Civil — Doors/Windows | [6 empty] | Completed
WO/0024 |  | Electrical — Lighting | [6 empty] | Completed
WO/0025 |  | Electrical — Power | [6 empty] | Completed
WO/0026 |  | Electrical — AC/Fans | [6 empty] | Completed
MONTHLY TOTAL

## SFY-03 Statutory Compliance
SFY-03: STATUTORY COMPLIANCE REGISTER — INSPECTIONS & CERTIFICATIONS
Non-compliance with statutory inspections is a legal offence. Lapsed certificates must be renewed before the equipment/system is operated. Keep all inspection certificates on file and available for inspection by authorities.
Sl. | System / Requirement | Governing Authority | Frequency | Last Inspection | Certificate Expiry | Days to Expiry | Status
1 | Lift / Elevator — Annual Safety Inspection | State Electrical Inspectorate / Labour Dept. | Annual
2 | DG Set — Pollution Under Control (PUC) | State Pollution Control Board | Annual
3 | Building Structure Stability Certificate | Local Municipal Authority | As required
4 | Fire NOC — Main Building | State Fire Services Dept. | Annual / 3-yearly
5 | Fire NOC — Hostel Buildings | State Fire Services Dept. | Annual
6 | Electrical Installation Safety Certificate | State Electrical Inspectorate | Annual
7 | Boiler / Pressure Vessel Certificate | State Boiler Inspectorate (if applicable) | Annual
8 | Water Quality — Potable Water Test | State Health / PHE Department | Quarterly / Annual
9 | Sewage Treatment Plant Compliance | State Pollution Control Board | Annual
10 | Borewell / Groundwater Permit | CGWA / State Groundwater Authority | Annual
11 | Wet Riser / Hydrant System Test | Fire Department | Annual
12 | Earthquake / Structural Audit (≥4 floors) | Structural Engineer / BIS | 5-yearly
13 | Energy Audit — BEE Certified (if applicable) | Bureau of Energy Efficiency | 3-yearly
14 | Weigh bridge / Crane — if applicable | Legal Metrology / Factory Inspector | Annual
15 | First Aid Box — Adequate as per Factory Act | Factory Inspector / Labour Dept. | Annual
COMPLIANCE SUMMARY
Total Statutory Requirements
Compliant (Certificate Current)
Expiring in 30 Days
EXPIRED — Illegal to Operate
Overall Compliance Rate (%)
Last Full Compliance Audit Date
Formulas:
Days to Expiry = IFERROR([Certificate Expiry]-TODAY(),"")
Status = IFERROR(IF([Certificate Expiry]<TODAY(),"EXPIRED — Illegal to Operate",IF([Certificate Expiry]-TODAY()<=30,"Renew Immediately","Compliant")),"")

## GMC-30 KPI Dashboard
GMC-30: GENERAL MAINTENANCE COMMITTEE KPI DASHBOARD
Month: _______ A.Y.: _______ GMC Coordinator: ___________________ Date: _______
MAINTENANCE REQUEST KPIs
Sl. | Key Performance Indicator | Unit | Target | Prev. Month Actual | Current Month Actual | Status | Action Required
1 | Maintenance requests received (monthly) | No. | Tracked |  |  | On Track
2 | P1 Emergency requests resolved within 4 hours | % on time | 100% |  |  | On Track
3 | P2 Urgent requests resolved within 24 hours | % on time | ≥95% |  |  | On Track
4 | P3 Routine requests resolved within 7 days | % on time | ≥90% |  |  | On Track
5 | Overall maintenance request closure rate (%) | % closed | ≥90% |  |  | On Track
6 | Repeat requests for same issue | No. | < 5% of total |  |  | On Track
CIVIL & INFRASTRUCTURE KPIs
Sl. | Key Performance Indicator | Unit | Target | Prev. Month Actual | Current Month Actual | Status | Action Required
1 | Annual building condition assessment completed | Y/N | Yes by April 30 |  |  | On Track
2 | Buildings rated ≥3.5 (Good / Excellent) | % of buildings | ≥80% |  |  | On Track
3 | Preventive maintenance jobs completed on schedule | % on schedule | ≥85% |  |  | On Track
4 | Monsoon preparedness inspection done | Y/N | Yes by May 31 |  |  | On Track
5 | Campus cleanliness audit score (/5) | Score | ≥3.5 |  |  | On Track
ELECTRICAL & MECHANICAL KPIs
Sl. | Key Performance Indicator | Unit | Target | Prev. Month Actual | Current Month Actual | Status | Action Required
1 | Monthly electrical inspections completed | % on time | 100% |  |  | On Track
2 | DG Set weekly test run compliance | % weeks | 100% |  |  | On Track
3 | AC quarterly service compliance (% of units) | % serviced | 100% |  |  | On Track
4 | Electrical fault resolution within 4 hours | % on time | ≥90% |  |  | On Track
5 | Earthing annual test completed | Y/N | Yes annually |  |  | On Track
6 | Lift/elevator statutory inspection current | Y/N | Yes — no lapse |  |  | On Track
SAFETY & COMPLIANCE KPIs
Sl. | Key Performance Indicator | Unit | Target | Prev. Month Actual | Current Month Actual | Status | Action Required
1 | Fire extinguisher monthly inspection done | % of units | 100% |  |  | On Track
2 | Fire drills conducted per year | No. | ≥2 per year |  |  | On Track
3 | Evacuation time achieved (< 3 min target) | Y/N | Yes in ≥1 drill |  |  | On Track
4 | All statutory certificates current | % compliant | 100% |  |  | On Track
5 | AMC renewals done before expiry | % on time | 100% |  |  | On Track
6 | Safety accidents / near-misses during maintenance | No. | 0 target |  |  | On Track
COST & QUALITY KPIs
Sl. | Key Performance Indicator | Unit | Target | Prev. Month Actual | Current Month Actual | Status | Action Required
1 | Maintenance budget utilisation (%) | % utilised | 85–100% |  |  | On Track
2 | Preventive vs. reactive maintenance ratio | % preventive | ≥60% preventive |  |  | On Track
3 | User satisfaction with maintenance (/5) | Score | ≥3.5 |  |  | On Track
4 | NAAC infrastructure data compiled | Y/N | Yes annually |  |  | On Track
5 | Contractor performance rating (avg) | Rating /5 | ≥3.5 |  |  | On Track
6 | Work completed on first visit (% of jobs) | % first-time fix | ≥75% |  |  | On Track

## GMC-31 Annual Report
GMC-31: GENERAL MAINTENANCE ANNUAL REPORT COMPILATION FORM
A.Y.: _______ GMC Coordinator: ___________________ Submitted to: Management / Finance / IQAC Date: _______
SECTION 1 — MAINTENANCE REQUESTS
Sl. | Performance Metric | Unit | Current A.Y. | Previous A.Y. | Growth % | Target Next Year
1 | Total maintenance requests received | No.
2 | Requests resolved on time (%) | % on time
3 | Emergency (P1) requests | No.
4 | Preventive maintenance jobs completed | No.
5 | Repeat requests (same issue) | No.
6 | Average resolution time (days) | Days
SECTION 2 — CIVIL & INFRASTRUCTURE
Sl. | Performance Metric | Unit | Current A.Y. | Previous A.Y. | Growth % | Target Next Year
1 | Buildings assessed (condition audit) | No.
2 | Buildings in Good / Excellent condition (%) | % ≥3.5
3 | Capital repairs undertaken | No. / ₹L
4 | Roofing / waterproofing works | No.
5 | Painting and whitewash works | Area m²
6 | Monsoon preparedness completed | Y/N
SECTION 3 — ELECTRICAL & MECHANICAL
Sl. | Performance Metric | Unit | Current A.Y. | Previous A.Y. | Growth % | Target Next Year
1 | Electrical inspections completed | No.
2 | DG Set running hours (annual) | Hours
3 | AC units serviced (annual) | No.
4 | Electrical faults resolved | No.
5 | Earthing tests completed | No.
6 | Lift inspections done | No.
SECTION 4 — SAFETY & COMPLIANCE
Sl. | Performance Metric | Unit | Current A.Y. | Previous A.Y. | Growth % | Target Next Year
1 | Fire drills conducted | No.
2 | Fire extinguisher inspections done | No.
3 | Statutory certificates current (%) | % compliant
4 | AMC renewals completed on time | % on time
5 | Safety accidents during maintenance | No.
6 | Compliance audit score | Score /100
SECTION 5 — COST & QUALITY
Sl. | Performance Metric | Unit | Current A.Y. | Previous A.Y. | Growth % | Target Next Year
1 | Total maintenance expenditure (₹L) | ₹L
2 | Capital repairs expenditure (₹L) | ₹L
3 | AMC total value (₹L) | ₹L
4 | Budget utilisation (%) | % utilised
5 | User satisfaction score (/5) | Score
6 | NAAC data submitted | Y/N
Annual Report submitted to: Management, Finance Committee, IQAC (NAAC AQAR Criterion IV — Infrastructure & Learning Resources), Governing Body, External Auditors. Statutory certificates to be submitted to relevant authorities on demand.
GMC Coordinator: ___________________ Estate Officer: ___________________ Chairperson (Principal): ___________________ Date: ___________________